## Verification Doc Example 2
Verification of analytical methods for GMO testing when implementing interlaboratory validated methods
EUR 24790 EN - 2011
annex 4 page 21 example 2:
sample | Cq endogenous gene | Cq GMO gene | copy endogenous gene (Y) | copy GMO gene (X) | X mean | Y mean | Var(X) | Var(Y) | E[X/Y] (equation 2) | mean GMO % | Var[X/Y] (equation 3) | sd[X/Y] | GM mean | GM% mean | replicates per reaction, n | number of standard deviations to be pooled, k | standard deviation of theoverallmean, sd GM | RSDr
extraction-1 GMO plate 1 | 21.3 | 24.41 | 156758 | 16119
extraction-1 GMO plate 1 | 21.18 | 24.61 | 171196 | 13954
extraction-1 GMO plate 1 | 21.1 | 25.5 | 172089 | 13405
extraction-1 GMO plate 1 | 21.19 | 25.44 | 160907 | 14000 | 14369.5 | 165237.5 | 1433393.6667 | 57700641.6667 | 0.087146 | 8.7146 | 6.8481e-05 | 0.0082753 | 0.088829 | 8.8829 | 4 | 4 | 0.008001 | 9.0072
extraction-2 GMO plate 1 | 21.09 | 26.21 | 165248 | 14826.97
extraction-2 GMO plate 1 | 21.09 | 26.3 | 165248 | 13885.92
extraction-2 GMO plate 1 | 21.2 | 26.38 | 152168 | 13099.69
extraction-2 GMO plate 1 | 21.25 | 26.2 | 146569 | 14935.39 | 14186.9925 | 157308.25 | 747513.7984 | 89277640.25 | 0.090511 | 9.0511 | 5.9551e-05 | 0.007717
extraction-1 GMO plate 2 | 21.3 | 24.41 | 156758 | 16119
extraction-1 GMO plate 2 | 21.18 | 24.61 | 171196 | 13954
extraction-1 GMO plate 2 | 21.1 | 25.5 | 172089 | 13405
extraction-1 GMO plate 2 | 21.19 | 25.44 | 160907 | 14000 | 14369.5 | 165237.5 | 1433393.6667 | 57700641.6667 | 0.087146 | 8.7146 | 6.8481e-05 | 0.0082753
extraction-2 GMO plate 2 | 21.09 | 26.21 | 165248 | 14826.97
extraction-2 GMO plate 2 | 21.09 | 26.3 | 165248 | 13885.92
extraction-2 GMO plate 2 | 21.2 | 26.38 | 152168 | 13099.69
extraction-2 GMO plate 2 | 21.25 | 26.2 | 146569 | 14935.39 | 14186.9925 | 157308.25 | 747513.7984 | 89277640.25 | 0.090511 | 9.0511 | 5.9551e-05 | 0.007717

## E R2 slope LOD
Example validation data RIKILT
PCR effciency, R2, slope, intercept: calculated using PCR machine software
plate | endogenous PCR Efficiency E (%) | endogenous PCR corr.coef. R2 | endogenous PCR slope | endogenous PCR intercept | GMO PCR Efficiency E (%) | GMO PCR corr.coef. R2 | GMO PCR slope | GMO PCR intercept
1 | 102.8 | 0.999 | -3.256 | 38.777 | 105.6 | 0.999 | -3.195 | 37.606
2 | 98.6 | 1 | -3.355 | 39.308 | 97.2 | 0.999 | -3.39 | 37.771
mean | 100.7 | 0.9995 | -3.3055 | 39.0425 | 101.4 | 0.999 | -3.2925 | 37.6885
acceptable: | 90-110 | >=0.98 | -3.6<=slope<=-3.1 |  | 90-110 | >=0.98 | -3.6<=slope<=-3.1
copies per reaction | endogenous number positive / number of reactions | GMO number positive / number of reactions
20 copies | 10/10 | 10/10
10 copies | 10/10 | 10/10
5 copies | 10/10 | 10/10 | LOD is 5 copies
1 copy | 10/10 | 8/10

## bias RSDr
plate | sample | Cq endogenous gene | Cq GMO | copy number endogenous gene | copy number GMO | X mean | Y mean | Var(X) | Var(Y) | E[X/Y] (equation 2) | mean GMO % | Var[X/Y] (equation 3) | sd[X/Y] |  | GM mean | GM%mean | n | k | sd GM | RSDr |  | GM mean | GM% mean | replicates per reaction, n | number of standard deviations to be pooled, k | standard deviation of the overall mean, sd GM | Relative Standard Deviation Repeatability, RSDr | Bias %
1 | 150ng 10%GMO | 23.2 | 25.4 | 64380 | 6438 | [15 empty] | 20 copies | 0.10424 | 10.4244 | 3 | 2 | 0.03009 | 28.8648
1 | 150ng 10%GMO | 23.15 | 25.54 | 64380 | 6438 | 6438 | 64380 | 0 | 0 | 0.1 | 10 | 0 | 0 | [7 empty] | 10 copies | 0.10899 | 10.8994 | 5 | 2 | 0.029198 | 26.7884
1 | 35.7ng 10%GMO | 25.04 | 27.35 | 15330 | 1533 | [15 empty] | 5 copies | 0.099042 | 9.9042 | 5 | 2 | 0.047242 | 47.6994
1 | 35.7ng 10%GMO | 25.12 | 27.34 | 15330 | 1533 | 1533 | 15330 | 0 | 0 | 0.1 | 10 | 0 | 0 | [7 empty] | 1 copy | 0.1314 | 13.1397 | 5 | 2 | 0.089954 | 68.4594
1 | 8.5ng 10%GMO | 27.16 | 29.59 | 3650 | 365 | [15 empty] | 1% GMO | 0.0096852 | 0.96852 | 4 | 4 | 0.00081709 | 8.4365 | -3.1483
1 | 8.5ng 10%GMO | 27.22 | 29.36 | 3650 | 365 | 365 | 3650 | 0 | 0 | 0.1 | 10 | 0 | 0 | [7 empty] | 0.1% GMO | 0.0010519 | 0.10519 | 4 | 4 | 0.00022395 | 21.2911 | 5.1866
1 | 2.0ng 10%GMO | 29.08 | 31.4 | 868.9 | 86.9
1 | 2.0ng 10%GMO | 29.22 | 31.44 | 868.9 | 86.9 | 86.9 | 868.9 | 0 | 0 | 0.10001 | 10.0012 | 0 | 0 | [7 empty] | acceptance criteria | Trueness: ±25% of the accepted reference value
1 | 0.48ng 10%GMO | 31.31 | 33.27 | 206.9 | 20.69 | [16 empty] | RSDr: ≤25% over the dynamic range
1 | 0.48ng 10%GMO | 31.27 | 33.5 | 206.9 | 20.69 | 20.69 | 206.9 | 0 | 0 | 0.1 | 10 | 0 | 0
1 | 0.48ng 10%GMO | 31.22 | 33.59 | 209.3 | 18.11
1 | 0.48ng 10%GMO | 31.32 | 33.79 | 195.4 | 15.64
1 | 0.48ng 10%GMO | 31.07 | 33.67 | 232.5 | 17.03 | 16.9267 | 212.4 | 1.5332 | 351.31 | 0.080313 | 8.0313 | 8.3442e-05 | 0.0091346 | 20 copies | 0.10424 | 10.4244 | 3 | 2 | 0.03009 | 28.8648
1 | 0.24ng 10%GMO | 32.12 | 33.94 | 110.9 | 14.01
1 | 0.24ng 10%GMO | 32.21 | 35.08 | 103.8 | 6.176
1 | 0.24ng 10%GMO | 32.03 | 33.91 | 117.8 | 14.35
1 | 0.24ng 10%GMO | 32.37 | 33.92 | 92.96 | 14.28
1 | 0.24ng 10%GMO | 32.22 | 34.16 | 103 | 12.02 | 12.1672 | 105.692 | 12.1351 | 86.6643 | 0.11601 | 11.6013 | 0.0011891 | 0.034484 | 10 copies | 0.10899 | 10.8994 | 5 | 2 | 0.029198 | 26.7884
1 | 0.12ng 10%GMO | 33.6 | 36.29 | 38.82 | 2.572
1 | 0.12ng 10%GMO | 33.06 | 35.2 | 57.03 | 5.668
1 | 0.12ng 10%GMO | 33.09 | 35.55 | 55.57 | 4.398
1 | 0.12ng 10%GMO | 33.26 | 35.57 | 49.48 | 4.321
1 | 0.12ng 10%GMO | 33.02 | 36.33 | 58.71 | 2.501 | 3.892 | 51.922 | 1.8179 | 65.7756 | 0.076787 | 7.6787 | 0.00081141 | 0.028485 | 5 copies | 0.099042 | 9.9042 | 5 | 2 | 0.047242 | 47.6994
1 | 0.02ng 10%GMO | 36.08 | 38.01 | 6.748 | 0.7486
1 | 0.02ng 10%GMO | 35.11 | 37.73 | 13.33 | 0.9168
1 | 0.02ng 10%GMO | 36.13 | 37.97 | 6.49 | 0.767
1 | 0.02ng 10%GMO | 34.76 | 37.98 | 17.16 | 0.7615
1 | 0.02ng 10%GMO | 35.9 | 36.85 | 7.664 | 1.721 | 0.98298 | 10.2784 | 0.17492 | 22.5799 | 0.11608 | 11.6076 | 0.0036106 | 0.060088 | 1 copy | 0.1314 | 13.1397 | 5 | 2 | 0.089954 | 68.4594
1 | 1%-1 GMO | 24.66 | 30.38 | 21620 | 182.6
1 | 1%-1 GMO | 24.68 | 30.27 | 21380 | 197.2
1 | 1%-1 GMO | 24.55 | 30.32 | 23290 | 190.1
1 | 1%-1 GMO | 24.68 | 30.41 | 21390 | 178.8 | 187.175 | 21920 | 66.7092 | 846466.6667 | 0.008554 | 0.8554 | 2.6729e-07 | 0.000517
1 | 1%-2 GMO | 24.65 | 30.22 | 21840 | 204.8
1 | 1%-2 GMO | 24.6 | 30.18 | 22610 | 211
1 | 1%-2 GMO | 24.56 | 30.23 | 23140 | 203.6
1 | 1%-2 GMO | 24.58 | 30.14 | 22820 | 216.7 | 209.025 | 22602.5 | 36.6958 | 305891.6667 | 0.0092534 | 0.92534 | 1.2304e-07 | 0.00035077 | 1% GMO | 0.0096852 | 0.96852 | 4 | 4 | 0.00081709 | 8.4365
1 | 0.1%-1 GMO | 24.62 | 33.8 | 22300 | 15.49
1 | 0.1%-1 GMO | 24.64 | 33.92 | 22000 | 14.19
1 | 0.1%-1 GMO | 24.63 | 33.26 | 22160 | 22.98
1 | 0.1%-1 GMO | 24.57 | 33.69 | 23010 | 16.79 | 17.3625 | 22367.5 | 15.1517 | 198491.6667 | 0.00077655 | 0.077655 | 3.0524e-08 | 0.00017471
1 | 0.1%-2 GMO | 24.58 | 33.53 | 22820 | 18.81
1 | 0.1%-2 GMO | 24.59 | 33.58 | 22720 | 18.18
1 | 0.1%-2 GMO | 24.57 | 33.09 | 23090 | 25.98
1 | 0.1%-2 GMO | 24.59 | 33.29 | 22700 | 22.44 | 21.3525 | 22832.5 | 13.0418 | 32225 | 0.00093524 | 0.093524 | 2.5071e-08 | 0.00015834 | 0.1% GMO | 0.0010519 | 0.10519 | 4 | 4 | 0.00022395 | 21.2911
1 | extraction control | N/A | N/A | N/A | N/A
1 | extraction control | N/A | N/A | N/A | N/A
1 | water | N/A | N/A | N/A | N/A
1 | water | N/A | N/A | N/A | N/A
2 | 150ng 10%GMO | 23.26 | 24.93 | 64380 | 6438
2 | 150ng 10%GMO | 23.2 | 24.88 | 64380 | 6438 | 6438 | 64380 | 0 | 0 | 0.1 | 10 | 0 | 0
2 | 35.7ng 10%GMO | 25.27 | 26.94 | 15330 | 1533
2 | 35.7ng 10%GMO | 25.19 | 27 | 15330 | 1533 | 1533 | 15330 | 0 | 0 | 0.1 | 10 | 0 | 0
2 | 8.5ng 10%GMO | 27.34 | 29.05 | 3650 | 365
2 | 8.5ng 10%GMO | 27.33 | 29.07 | 3650 | 365 | 365 | 3650 | 0 | 0 | 0.1 | 10 | 0 | 0
2 | 2.0ng 10%GMO | 29.4 | 31.19 | 868.9 | 86.9
2 | 2.0ng 10%GMO | 29.4 | 30.95 | 868.9 | 86.9 | 86.9 | 868.9 | 0 | 0 | 0.10001 | 10.0012 | 0 | 0
2 | 0.48ng 10%GMO | 31.63 | 33.47 | 206.9 | 20.69
2 | 0.48ng 10%GMO | 31.57 | 33.37 | 206.9 | 20.69 | 20.69 | 206.9 | 0 | 0 | 0.1 | 10 | 0 | 0
2 | 0.48ng 10%GMO | 31.58 | 32.79 | 201.7 | 29.45
2 | 0.48ng 10%GMO | 31.43 | 32.58 | 223.5 | 34.04
2 | 0.48ng 10%GMO | 31.54 | 33.57 | 207.1 | 17.32 | 26.9367 | 210.7667 | 74.6272 | 128.8933 | 0.12817 | 12.8174 | 0.0017273 | 0.041561 | 20 copies
2 | 0.24ng 10%GMO | 33.03 | 34.38 | 74.43 | 10.01
2 | 0.24ng 10%GMO | 32.54 | 34.07 | 104.1 | 12.35
2 | 0.24ng 10%GMO | 32.68 | 34.63 | 94.72 | 8.434
2 | 0.24ng 10%GMO | 32.38 | 34.41 | 116.5 | 9.829
2 | 0.24ng 10%GMO | 32.56 | 34.64 | 102.7 | 8.374 | 9.7994 | 98.49 | 2.6117 | 241.6632 | 0.10198 | 10.1975 | 0.00051587 | 0.022713 | 10 copies
2 | 0.12ng 10%GMO | 33.42 | 35.28 | 56.96 | 5.424
2 | 0.12ng 10%GMO | 33.76 | 34.14 | 45.03 | 11.78
2 | 0.12ng 10%GMO | 33.29 | 35.66 | 62.1 | 4.192
2 | 0.12ng 10%GMO | 33.62 | 35.28 | 49.74 | 5.423
2 | 0.12ng 10%GMO | 33.59 | 35.47 | 50.71 | 4.767 | 6.3172 | 52.908 | 9.5898 | 44.4605 | 0.1213 | 12.1296 | 0.0036523 | 0.060434 | 5 copies
2 | 0.02ng 10%GMO | 35.78 | 36.64 | 11.27 | 2.159
2 | 0.02ng 10%GMO | 36.74 | 38.7 | 5.834 | 0.5328
2 | 0.02ng 10%GMO | 36.05 | N/A | 9.372 | N/A
2 | 0.02ng 10%GMO | 36.63 | 38.22 | 6.276 | 0.7385
2 | 0.02ng 10%GMO | 36.09 | N/A | 9.102 | N/A | 1.1434 | 8.3708 | 0.78411 | 5.1915 | 0.14672 | 14.6718 | 0.012573 | 0.11213 | 1 copy
2 | 1%-1 GMO | 24.84 | 29.97 | 20510 | 199.9
2 | 1%-1 GMO | 24.79 | 29.7 | 21200 | 240.5
2 | 1%-1 GMO | 24.78 | 29.98 | 21470 | 198
2 | 1%-1 GMO | 24.75 | 30.06 | 21880 | 188.3 | 206.675 | 21265 | 534.3092 | 331500 | 0.0097261 | 0.97261 | 1.2508e-06 | 0.0011184
2 | 1%-2 GMO | 24.73 | 29.57 | 22200 | 261.8
2 | 1%-2 GMO | 24.73 | 29.49 | 22230 | 277.3
2 | 1%-2 GMO | 24.7 | 29.79 | 22560 | 225.6
2 | 1%-2 GMO | 24.64 | 29.65 | 23550 | 249.2 | 253.475 | 22635 | 477.4092 | 398700 | 0.011207 | 1.1207 | 1.0294e-06 | 0.0010146 | 1% GMO
2 | 0.1%-1 GMO | 24.84 | 32.4 | 20490 | 38.37
2 | 0.1%-1 GMO | 24.7 | 33.07 | 22690 | 24.33
2 | 0.1%-1 GMO | 24.72 | 33.1 | 22240 | 23.82
2 | 0.1%-1 GMO | 24.66 | 32.7 | 23260 | 31.31 | 29.4575 | 22170 | 46.979 | 1428600 | 0.0013326 | 0.13326 | 1.0071e-07 | 0.00031735
2 | 0.1%-2 GMO | 24.71 | 32.77 | 22440 | 29.95
2 | 0.1%-2 GMO | 24.72 | 33.21 | 22300 | 22.19
2 | 0.1%-2 GMO | 24.64 | 33.15 | 23500 | 23.06
2 | 0.1%-2 GMO | 24.63 | 32.69 | 23670 | 31.6 | 26.7 | 22977.5 | 22.7207 | 500158.3333 | 0.0011631 | 0.11631 | 4.4314e-08 | 0.00021051 | 0.1% GMO
2 | extraction control | N/A | N/A | N/A | N/A
2 | extraction control | N/A | N/A | N/A | N/A
2 | water | N/A | N/A | N/A | N/A
2 | water | N/A | N/A | N/A | N/A
Note on K1: Scholtens, Ingrid: schatting gemiddelde