## Legend+Explanations
Explanation
Name of Excel sheet | Contents
"Report" | The first section of page 1 has to be completed before beginning laboratory work! The values for species, target sequence/haploid genome copies, %GMO, haploid genome copy number, DNA concentration, PCR volume and template volume are needed for further calculations (e.g. dilution series, dilution of samples with GM level 1 and GM level 2, preparation of the reaction mix).
| Estimation of LODabs and LOQabs: A dilution series with dilution levels A-I (e.g. 2.500, 500, 100, 60, 40, 20, 10, 5 and 1 GM target DNA copies) is prepared. Dilution levels D-I are measured in 10 replicates. | Plate A
Determination of the dynamic range, R² coefficient and amplification efficiency: 2 calibration curves, 5 calibration points with 3 PCR replicates each (according to example 1 in table 1 in the guidance document from the ENGL "Verification of analytical methods for GMO testing when implementing interlaboratory validated methods")
Plate B + C
Determination of trueness, precision and RSDr : 2 DNA extraction replicates per GM level, 4 PCR replicates per extraction/plate, 2 plates, resulting in 16 test results and 4 GM-estimations per GM level (according to example 2 in table 1 in the guidance document from the ENGL "Verification of analytical methods for GMO testing when implementing interlaboratory validated methods")
| Additionally, new materials can be tested for specificity. | Plate C
The measured Cq-values are entered on page 1 for specificity, on page 2 for plate A (LOD and LOQ) and on page 3 for plates B and C (dynamic range, R² coefficient, amplification efficiency, trueness, precision and RSDr).
The second section of page 1 provides an overview of the determined data. The evaluation of the acceptance criteria is highlighted (fulfilled or not fulfilled).
"Dilution series A" | Preparation of dilution series for plate A
"Dilution series B" | Preparation of dilution series for plate B
"Dilution series C" | Preparation of dilution series for plate C
"Dilution of samples" | Dilution of samples with GM level 1 and GM level 2 and dilution of samples for specificity test
"Plate layout A "LOD_ LOQ"" | Plate A: Plate setup - loading order, cycling programme, preparation of working solutions of primers and probes, preparation of reaction mix
"Plate layout B "Trueness"" | Plate B: Plate setup - loading order, cycling programme, preparation of working solutions of primers and probes (reference and GM target system), preparation of reaction mix (reference and GM target system)
"Plate layout C "Trueness"" | Plate C: Plate setup - loading order, cycling programme, preparation of working solutions of primers and probes (reference and GM target system), preparation of reaction mix (reference and GM target system)
Legend
: This field must be filled out
: This field should be filled out
: The content of this field can be adapted
All other fields are write-protected!
AS-No: | : Internal number of the analysis
S/N | : Serial number (internal material number)
Name | : Name of the material
Sample No | : Sample number (internal number/name of the DNA extraction replicate)
EBC | : Extraction blank control
Primer No | : Internal number of primers and probes
GM level 1 | : Close to the level set in legislation
GM level 2 | : Close to LOQ
PC | : Peformance criteria
}

## Report
Verification report of methods validated in an interlaboratory study for the quantification with real-time PCR of: | [26 empty] | Calculation of values of standard curve
[15 empty] | Determination of LOD / LOQ | [11 empty] | Log hpl. genom equiv. | Cq |  |  | Values of standard curve | [12 empty] | Trueness GM level 1: | [5 empty] | %GMO:
#VALUE!
[14 empty] | Dilution level | GM target DNA copy number [target value] | Cq-values of PCR replicates of Plate A |  |  | Curve parameters | [5 empty] | PC + 10/10 + previous level | LOD | #VALUE! |  |  |  | reference gene |  |  |  |  | GM target | [5 empty] | Extraction 1 |  |  |  | Sample No.
| Date |  |  |  | Species |  |  |  | AS-No | [9 empty] | intercept [2500 - x] | slope [2500 - x] | R² coefficient [2500 - x] | [5 empty] | #VALUE! |  | Log haploid genome equivalents | Dilution | Haploid genome copy number [target value] | Pate B |  | Plate C |  | Haploid genome copy number [target value] | Plate B |  | Plate C |  | Log haploid Genome equivalents | Plate B | [7 empty] | Plate C
| Operator |  |  |  | Target sequence/hapl. genome copies |  |  |  | Reference gene | [12 empty] | PC- calibration curve | 10/10 | PC+10/10 |  |  | 2.699 |  |  |  |  | Haploid genome copy number [actual value] | Cq-value | Haploid genome copy number [actual value] | Cq-value |  | Haploid genome copy number [actual value] | Cq-value | Haploid genome copy number [actual value] | Cq-value |  | Ref. gene |  | 0 |  | GM target |  | 0 |  | Ref. gene |  | 0 |  | GM target |  | 0
Responsible scientist | [8 empty] | Event | [17 empty] | 2.699 | [14 empty] | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies
[27 empty] | 2.699 | [5 empty] | Ct value |  | Ct value |  |  | Ct value |  | Ct value |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
|  |  | Standard |  |  | GM level 1.1 (Extract. 1) |  | GM level 1.2 (Extract. 2) |  | GM level 2.1 (Extract. 1) |  | GM level 2.2 (Extract. 2) |  | A | [12 empty] | 2 |  | #VALUE! | Level A |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
| S/N |  |  |  | S/N | [8 empty] | B | 500 |  |  | 500 | [8 empty] | 2 |  | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
| Name |  |  |  | Name | [8 empty] | C | 100 |  |  | 100 | [8 empty] | 2 |  | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
| % GMO |  |  |  | % GMO | [8 empty] | D | 60 |  |  | 60 | #VALUE! | Duplikate! | #VALUE! | #VALUE! | FALSE | #VALUE! | #VALUE! | FALSE | 1.7782 | #DIV/0! | #VALUE! | Level B |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | % GMO1 |  |  | #VALUE! |  | sd1: | #VALUE! |  | % GMO3 |  |  | #VALUE! |  | sd3: | #VALUE!
|  | Hapl. genome copy number |  |  |  | Hapl. genome copy number |  |  |  | Hapl. genome copy number |  |  |  | E | 40 |  |  | 40 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | FALSE | #VALUE! | #VALUE! | FALSE | 1.6021 | #DIV/0! | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE!
| Level A |  |  |  | Extraction 1 | [8 empty] | F | 20 |  |  | 20 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | FALSE | #VALUE! | #VALUE! | FALSE | 1.301 | #DIV/0! | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | Extraction 2 |  |  |  | Sample No.
| Level B |  |  |  | Extraction 2 | [8 empty] | G | 10 |  |  | 10 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | FALSE | #VALUE! | #VALUE! | FALSE | 1 | #DIV/0! | #VALUE! | Level C |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | Plate B | [7 empty] | Plate C
| Level C |  |  |  |  | Operator |  | Date of extraction |  | Operator |  | Date of extraction |  | H | 5 |  |  | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | FALSE | #VALUE! | #VALUE! | FALSE | 0.69897 | #DIV/0! | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | Ref. gene |  | 0 |  | GM target |  | 0 |  | Ref. gene |  | 0 |  | GM target |  | 0
| Level D |  |  |  | Extraction 1 | [8 empty] | I | 1 |  |  | 1 | serial dilution plausible | [9 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies
| Level E |  |  |  | Extraction 2 | [19 empty] | LOQ |  |  |  | #VALUE! | Level D |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
|  | Sample No. | Conc. (ng/µl) | Sample-No EBC | Extract. Method: | AV111_10_01 Fast ID Genomic | [10 empty] | LODabs | - | [10 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
Standard of Plate A | [5 empty] | Sample No. |  | Conc. (ng/µl) | Sample No. EBC | Sample No. |  | Conc. (ng/µl) | Sample No. EBC | [9 empty] | <25% and 10/10 | <25% and 10/10 PC+10/10 |  |  |  |  | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
Standard of Plate B |  |  |  |  | Extraction 1 | [23 empty] | #VALUE! | Level E |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
Standard of Plate C |  |  |  |  | Extraction 2 | [23 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | % GMO2 |  |  | #VALUE! |  | sd2 | #VALUE! |  | % GMO4 |  |  | #VALUE! |  | sd4 | #VALUE!
[29 empty] | #VALUE! |  |  | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE!
| Instrument | [14 empty] | GM target DNA copy number [actual value] |  | RSD |  |  |  | <25% | [19 empty] | Mean GMO %: |  |  | #VALUE! |  |  | sdGM | #VALUE! |  |  | RSDr | #VALUE!
| Ref. gene | [6 empty] | Event: | [13 empty] | #DIV/0! | #DIV/0! | #VALUE! | #VALUE! | [5 empty] | Efficiency |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE!
| PCR reagent kit | [13 empty] | 500 | [6 empty] | #DIV/0! | #DIV/0! | #VALUE! | #VALUE! | [5 empty] | Slope |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE!
[15 empty] | 100 | [6 empty] | #DIV/0! | #DIV/0! | #VALUE! | #VALUE! | [5 empty] | Intercept |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE! |  |  |  | Trueness GM level 2: | [5 empty] | %GMO:
|  | Primer F | Primer R | Probe |  |  |  |  | Primer F | Primer R | Probe |  |  |  | 60 |  |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #VALUE! | #VALUE! | [5 empty] | R2 |  | #VALUE! |  | #VALUE! |  |  | #VALUE! |  | #VALUE!
| Primer No. | [6 empty] | Primer No. | [6 empty] | 40 |  |  | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #VALUE! | #VALUE! | [16 empty] | Extraction 1 |  |  |  | Sample No.
PCR Vol. (µl) | [6 empty] | PCR Vol. (µl) | [7 empty] | 20 |  |  | #DIV/0! |  |  |  | Dynamic Range: |  |  | - | #VALUE! | [15 empty] | Plate B | [7 empty] | Plate C
[6 empty] | Template Vol. (µl) | [8 empty] | 10 |  |  | #DIV/0! |  |  |  | Slope: |  | #VALUE! | [17 empty] | Ref. gene |  | 0 |  | GM target |  | 0 |  | Ref. gene |  | 0 |  | GM target |  | 0
[15 empty] | 5 |  |  | #DIV/0! |  |  |  | Axis intercept |  | #VALUE! | [17 empty] | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies |  |  | Cq | Hapl. G-copies |  |  | Cq | hapl. gen-copies
| Curve parameters | [20 empty] | R2: |  | #VALUE! | [18 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
|  |  | R2 ≥ 0.98 |  | Slope: - 3.6 – - 3.1 |  | Accept. criterion | [9 empty] | LOQabs | - | [24 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
|  |  | Plate B | Plate C | Plate B | Plate C | [36 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
|  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [35 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
|  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [34 empty] | % GMO1 |  |  | #VALUE! |  | sd1 | #VALUE! |  | %GMO4 |  |  | #VALUE! |  | sd3 | #VALUE!
| Trueness | [40 empty] | Extraction 2 |  |  |  | Sample No.
|  |  | Value [Nominal] | ± 25% | Value [Actual] | Accept. criterion |  | Dynamic range | [33 empty] | Plate B | [7 empty] | Plate C
[8 empty] | #VALUE! | [33 empty] | Ref. gene |  | 0 |  | GM target |  | 0 |  | Ref. gene |  | 0 |  | GM target |  | 0
|  | GM level 1 | 0% | 0% | #VALUE! | #VALUE! |  | #VALUE! | [33 empty] | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies |  |  | Cq | hapl. gen-copies
|  | GM level 2 | 0% | 0% | #VALUE! | #VALUE! |  | #VALUE! | [34 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
[43 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
| Relative Repeatability Standard Deviation (RSDr) | [5 empty] | Complement to specificity (Event) | [35 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
|  |  | RSDr | Accept. Criterion |  |  | Name |  | S/N | Sample No. | % GMO | Conc. (ng/µl) | Cq values | [29 empty] | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | #VALUE!
|  | GM level 1 | #VALUE! | #VALUE! | [37 empty] | %GMO2 |  |  | #VALUE! |  | sd2 | #VALUE! |  | %GMO4 |  |  | #VALUE! |  | sd4 | #VALUE!
|  | GM level 2 | #VALUE! | #VALUE!
| LOD / LOQ (GM target DNA copy number) | [40 empty] | Mean GMO: |  |  | #VALUE! |  |  | sdGM | #VALUE! |  |  | RSDr | #VALUE!
|  | LODabs | - | Cannot be determined for dilution levels D-H
|  | LOQabs | - | Cannot be determined for dilution levels D-H
[8 empty] | Mass of haploid genome [pg] |  |  | Zygosity ratio
[7 empty] | cotton | 2.33 |  |  | 1
[7 empty] | potato | 1.8 |  |  | 0.5
[7 empty] | linseed | 0.7 |  |  | 0.33333
[7 empty] | maize | 2.6 |  |  | 0.25
[7 empty] | canola | 1.23 |  |  | 0.2
[7 empty] | soybean | 1.15 |  |  | 0.16667
[7 empty] | tomato | 0.99 |  |  | 0.14286
[7 empty] | sugar beet | 1.25 |  |  | 0.125
xx
xx
xx
xx
xx
xx
xx
xx
xx
xx
xx
xx
xx

## Dilution series A
AS-No.:
Date:
Dilution levels for LOD/LOQ determination on plate A
S/N
Name
% GMO
Ref. gene:
Event:
| Sample No standard: |  |  | Template volume (µl)
DNA concentration (ng/µl)
| Species: |  | #N/A | Mass of haploid genome (pg/hapl. genome)
|  |  | #VALUE! | Dilution factor
| Dilution level | GM target DNA copy number | Hapl. genome copy number Reference gene | [6 empty] | 0.2xTE (µl) | Wells/dilution level | Total volume (µl) incl. 20% pipetting reserve | Remaining volume (µl) | Concentration after dilution (ng/µl)
| A |  | no data | cp/ | µl | #VALUE! | µl from | ng/µl | + | #VALUE! | 3 | #VALUE! | #VALUE! | #VALUE!
| B | 500 |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 3 | #VALUE! | #VALUE!
| C | 100 |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 3 | #VALUE! | #VALUE!
| D | 60 |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 10 | #VALUE! | #VALUE!
| E | 40 |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 10 | #VALUE! | #VALUE!
| F | 20 |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 10 | #VALUE! | #VALUE!
| G | 10 |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 10 | #VALUE! | #VALUE!
| H | 5 |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 10 | #VALUE! | #VALUE!
| I | 1 |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 10 | #VALUE! | #VALUE!
[10 empty] | #VALUE! | Total TE (µl)

## Dilution series B
AS-No.:
Date:
Standard curve Plate B
S/N
Name
% GMO
Ref. gene:
Event:
| Sample No standard: |  |  | Template volume (µl)
DNA concentration (ng/µl)
| Species: |  | #N/A | Mass of haploid genome (pg/hapl. genome)
|  |  | #VALUE! | Dilution factor
| Dilution level | Hapl. genome copy number Event | Hapl. genome copy number Reference gene | [6 empty] | 0.2xTE (µl) | Wells/dilution level | Total volume (µl) incl. 20% pipetting reserve | Remaining volume (µl) | Concentration after dilution (ng/µl)
| A |  |  | cp/ | µl | #VALUE! | µl from | ng/µl | + | #VALUE! | 6 | #VALUE! | #VALUE! | #VALUE!
| B |  |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 6 | #VALUE! | #VALUE!
| C |  |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 6 | #VALUE! | #VALUE!
| D |  |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 6 | #VALUE! | #VALUE!
| E |  |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 6 | #VALUE! | #VALUE!
[10 empty] | #VALUE! | Total TE (µl)

## Dilution series C
AS-No.:
Date:
Standard curve Plate C
S/N
Name
% GMO
Ref. gene:
Event:
| Sample No standard: |  |  | Template volume (µl)
DNA concentration (ng/µl)
| Species: |  | #N/A | Mass of haploid genome (pg/hapl. genome)
|  |  | #VALUE! | Dilution factor
| Dilution level | Hapl. genome copy number Event | Hapl. genome copy number Reference gene | [6 empty] | 0.2xTE (µl) | Wells/dilution level | Total volume (µl) incl. 20% pipetting reserve | Remaining volume (µl) | Concentration after dilution (ng/µl)
| A |  |  | cp/ | µl | #VALUE! | µl from | ng/µl | + | #VALUE! | 6 | #VALUE! | #VALUE! | #VALUE!
| B |  |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 6 | #VALUE! | #VALUE!
| C |  |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 6 | #VALUE! | #VALUE!
| D |  |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 6 | #VALUE! | #VALUE!
| E |  |  | cp/ | µl | #VALUE! | µl from |  | + | #VALUE! | 6 | #VALUE! | #VALUE!
[10 empty] | #VALUE! | Total TE (µl)

## Dilution of samples
AS-No.:
Date:
Dilution of samples with GM level 1 and GM level 2
| Samples |  | Sample No. | DNA conc. of the sample (ng/µl) | Dilution incl. pipetting reserve (4 React.) |  |  | DNA conc. of the dilution (ng/µl) | Required copy number of reference gene / PCR reaction | Mass of haploid genome (pg)
[5 empty] | DNA (µl) |  | 0.2xTE (µl)
| GM level 1 / Extract. 1 |  |  | 0 |  | + |  | #VALUE! |  | #N/A | 0
| GM level 1 / Extract. 2 |  |  | 0 |  | + |  | #VALUE! |  | #N/A | 0
| GM level 2 / Extract. 1 |  |  | 0 |  | + |  | #VALUE! |  | #N/A | 0
| GM level 2 / Extract. 2 |  |  | 0 |  | + |  | #VALUE! |  | #N/A | 0
Template vol. (µl)
Dilution of the samples for the test for specificity:
Name |  | Sample No. | % GMO | DNA conc. of the sample (ng/µl) | Dilution incl. pipetting reserve (1 React.) |  |  | DNA conc. of the dilution (ng/µl) | Required copy number of GM target gene / PCR reaction (target DNA copies) | Mass of haploid genome (pg) |  | Target seq./hapl. genome copies
[5 empty] | Sample (µl) |  | 0.2xTE (µl) |  |  |  | Species
|  |  |  | 0 |  | + |  | #N/A |  | #N/A
|  |  |  | 0 |  | + |  | #N/A |  | #N/A
|  |  |  | 0 |  | + |  | #N/A |  | #N/A
|  |  |  | 0 |  | + |  | #N/A |  | #N/A
|  |  |  | 0 |  | + |  | #N/A |  | #N/A
|  |  |  | 0 |  | + |  | #N/A |  | #N/A
|  |  |  | 0 |  | + |  | #N/A |  | #N/A
Template vol. (µl)
Zygosity ratio
| cotton |  |  | 1
| potato |  |  | 0.5
| linseed |  |  | 0.33333
| maize |  |  | 0.25
| canola |  |  | 0.2
| soybean |  |  | 0.16667
| tomato |  |  | 0.14286
| sugar beet |  |  | 0.125
| xx |  |  | 0
| xx |  |  | 0
| xx |  |  | 0
| xx |  |  | 0
xx
xx
xx
xx
xx
xx
xx
xx
xx

## Plate layout A “LOD_LOQ”
AS-No.:
Date:
Plate A: Plate layout and preparation of the reaction mix | [7 empty] | Instrument
[6 empty] | Dilution level | Target DNA copies | 0
Cycling programme
[8 empty] | Step | e.g. | T°C | Time (sec) | Acquisition | Cycles
[8 empty] | 1 | UNG
Denaturation
[6 empty] | A |  | 2 | Denaturation
[6 empty] | B | 500 | 3 | Annealing (resp. anneal. + elong.)
[6 empty] | C | 100 | 4 | Elongation
[6 empty] | D | 60
[6 empty] | E | 40
[6 empty] | F | 20
[6 empty] | G | 10
[6 empty] | H | 5
[6 empty] | I | 1
Preparation of 100 µl of working solution
for
| Final concentration (nM) | Conc. stock solution (µM) | Conc. working solution (µM) | Stock solution (µl) | Water (µl)
0 |  |  | 0 | #DIV/0! | #DIV/0!
0 |  |  | 0 | #DIV/0! | #DIV/0!
0 |  |  | 0 | #DIV/0! | #DIV/0!
Preparation of reaction mix
Total consider pipetting reserve!
| Component | µl/reaction |  | Date of prep. of working sol. | Lot number
PCR Reaction kit | 0 | 0 | 0
Primer F | 0 | 0.25 | 0
Primer R | 0 | 0.25 | 0
Probe | 0 | 0.25 | 0
| H2O | -0.75 | 0
| Total | 0 | 0
| Template DNA | 0 | µl
| Total reaction volume | 0 | µl
EBC

## Plate layout B “Trueness”
AS-No.: | [14 empty] | Preparation of 100 µl of working solution
Date: | [14 empty] | for
Plate B: Plate layout and preparation of the reaction mixes | [15 empty] | Final concentration (nM) | Conc. stock solution (µM) | Conc. working sol. (µM) | Stock solution (µl) | Water (µl)
|  | Standard curve Plate B |  |  |  |  | Samples |  |  |  |  | EBC / NTC |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
|  | Level A | Level B | Level C | Level D | Level E | GM level 1 Extraction 1 | GM level 1 Extraction 2 | GM level 2 Extraction 1 | GM level 2 Extraction 2 |  |  |  |  | 0 |  |  | 0 | #DIV/0! | #DIV/0!
[15 empty] | 0 |  |  | 0 | #DIV/0! | #DIV/0!
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Preparation of reaction mix
Reference gene | A | [16 empty] | Total consider pipetting reserve! | bar: 1 to 12
B | bar: 1 to 12
[16 empty] | Component | µl/reaction |  | Date of prep. of working sol. | Lot No.
C | bar: 1 to 12
[16 empty] | 0 | 0 | 0
| D | [13 empty] | PCR Reaction Kit | bar: 1 to 12
[15 empty] | Primer F | 0 | 0.25 | 0
Event | E | [13 empty] | Primer R | 0 | 0.25 | 0 | bar: 1 to 12
[15 empty] | Probe | 0 | 0.25 | 0 | bar: 11
| F | [14 empty] | H2O | -0.75 | 0 | bar: 1 to 12
| C | [14 empty] | Total | 0 | 0 | bar: 11
G | bar: 1 to 12
| E | [14 empty] | Template DNA | 0 | µl | bar: 6 to 9; 11
| H | x | x | x | x | x |  |  |  |  | x | NTC Ref | NTC GM Target |  |  | Total reaction volume | 0 | µl
Instrument
Preparation of 100 µl of working solution
|  | 1: Cycling programme |  | for
|  | 1: Step; 3: e.g.; 7: T°C; 9: Time (sec); 11: Acquisition | Cycles |  | Final concentration (nM) | Conc. stock solution (µM) | Conc. working sol. (µM) | Stock solution (µl) | Water (µl)
|  | 1: 1; 3: UNG |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 3: Denaturation |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 1: 2; 3: Denaturation |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 3 |  | Annealing (resp. annealing and elongation)
Preparation of reaction mix
|  | 1: 4; 3: Elongation |  |  |  |  | Total consider pipetting reserve!
[16 empty] | Component | µl/reaction |  | Date of prep. of working sol. | Lot No.
[15 empty] | PCR Reaction Kit | 0 | 0 | 0
[15 empty] | Primer F | 0 | 0.25 | 0
[15 empty] | Primer R | 0 | 0.25 | 0
[15 empty] | Probe | 0 | 0.25 | 0
[16 empty] | H2O | -0.75 | 0
[16 empty] | Total | 0 | 0
[16 empty] | Template DNA | 0 | µl
[16 empty] | Total reaction volume | 0 | µl

## Plate layout C “Trueness”
AS-No.: | [14 empty] | Preparation of 100 µl of working solution
Date: | [14 empty] | for
Plate C: Plate layout and preparation of the reaction mixes | [15 empty] | Final concentration (nM) | Conc. stock solution (µM) | Conc. working sol. (µM) | Stock solution (µl) | Water (µl)
|  | Standard curve Plate C |  |  |  |  | Samples |  |  |  | Specificity |  |  |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | Level A | Level B | Level C | Level D | Level E | GM level 1 Extraction 1 | GM level 1 Extraction 2 | GM level 2 Extraction 1 | GM level 2 Extraktion 2 |  |  |  |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
[15 empty] | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Preparation of reaction mix
Reference gene | A | [16 empty] | Total consider pipetting reserve!
B
[16 empty] | Component | µl/reaction |  | Date of prep. of working sol. | Lot No.
C
[16 empty] | 0 | 0 | 0
| D | [13 empty] | PCR Reaction kit | bar: 1 to 12
[15 empty] | Primer F | 0 | 0.25 | 0
Event | E | [13 empty] | Primer R | 0 | 0.25 | 0
[15 empty] | Probe | 0 | 0.25 | 0
| F | [14 empty] | H2O | -0.75 | 0
| C | [14 empty] | Total | 0 | 0
G
| E | [14 empty] | Template DNA | 0 | µl | bar: 6 to 9
| H | x | x | x | x | x |  |  |  |  | x | NTC Ref | NTC GM Target |  |  | Total reaction volume | 0 | µl
Instrument
Preparation of 100 µl of working solution
|  | 1: Cycling programme |  | for
|  | 1: Step; 3: e.g.; 7: T°C; 9: Time (sec); 11: Acquisition | Cycles |  | Final concentration (nM) | Conc. stock solution (µM) | Conc. working sol. (µM) | Stock solution (µl) | Water (µl)
|  | 1: 1; 3: UNG |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 3: Denaturation |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 1: 2; 3: Denaturation |  | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
|  | 3 |  | Annealing (resp. annealing and elongation)
Preparation of reaction mix
|  | 1: 4; 3: Elongation |  |  |  |  | Total consider pipetting reserve!
[16 empty] | Component | µl/reaction |  | Date of prep. of working sol. | Lot No.
[15 empty] | PCR Reaction kit | 0 | 0 | 0
[15 empty] | Primer F | 0 | 0.25 | 0
[15 empty] | Primer R | 0 | 0.25 | 0
[15 empty] | Probe | 0 | 0.25 | 0
[16 empty] | H2O | -0.75 | 0
[16 empty] | Total | 0 | 0
[16 empty] | Template DNA | 0 | µl
[16 empty] | Total reaction volume | 0 | µl