## How to
Verification of analytical methods for GMO testing when implementing interlaboratory validated methods
Annex 2: Evaluation of DNA- extraction method (Inhibition test)
This excel worksheet perform the analysis of data generated following the Annex 2 of the guidance "Verification of analytical methods for GMO testing when implementing interlaboratory validated methods" for the evaluation of the absence of PCR inhibitors in DNA solutions. Instructions 1) Dilute the DNA sample at the concentration for which you want to evaluate the absence of PCR inhibitors, namely the working dilution (WD) (e.g. 40 ng/µl if you foresee to load 5 µl per reaction, hence 200 ng per reaction.) 2) Then prepare four serial dilutions of the WD, for example four fold dilutions (e.g.1:4, 1:16, 1:64 and 1:256). 3) For each dilution (i.e. WD, 1:4, 1:16, 1:64 and 1:256 ) run a qPCR experiment in duplicate using a quantitative taxon-specific method suitable for the sample (e.g. lectin for a sample containing soybean). 4) At the end of the cycling program, analyse the qPCR run, extract the results (i.e. Cq values) and copy them in the tab "raw data". 5) Paste the Cq values corresponding to each dilution level in the tab "Inhibition evaluation". Note that you have to insert first the Cq values related to the serial dilutions (i.e. 1:4, 1:16, 1:64 and 1:256) and at the bottom those generated by the WD. The spreadsheet calculates from the serial dilutions the extrapolated Cq (expected without inhibition) for the WD sample. The test will be successful if the difference between the mean of the actual Cq (Cq Mean) and the extrapolated Cq is less or equal to 0.5. Please consider that the slope and the R2 of the calibration curve from the serial dilution should fulfill these requirements: -3.6 < slope < -3.1, R2 > 0.98 Disclaimer: This file was made for educational purposes. You may download the file and use them freely. ENGL and the authors shall not be liable for any loss, damage etc. resulting from its use.

## Inhibition evaluation
Verification of analytical methods for GMO testing when implementing interlaboratory validated methods
Annex 2: Evaluation of DNA- extraction method (Inhibition test)
Sample code : |  |  |  | Example
Dilution factor |  |  | Measured Cq | Cq Mean | DCq | Expected DCq | Logarithm
1 | : | 4 | 24.2 |  |  |  | -0.60206
|  |  | 24.9 | 24.55 | 2.05 | 2 | -0.60206
1 | : | 16 | 26.5 |  |  |  | -1.2041
|  |  | 26.5 | 26.5 | 1.95 | 2 | -1.2041
1 | : | 64 | 28.7 |  |  |  | -1.8062
|  |  | 28.5 | 28.6 | 2.1 | 2 | -1.8062
1 | : | 256 | 30.5 |  |  |  | -2.4082
|  |  | 30.5 | 30.5 | 1.9 | 2 | -2.4082
|  |  | Measured Cq | Cq Mean | Extrapol. Cq | Extrapol. - Mean Cq
Working dilution |  |  | 22.7 |  |  |  | Ok
|  |  | 22.3 | 22.5 | 22.55 | 0.05
Sample code :
Dilution faCqor |  |  | Measured Cq | Cq Mean | DCq | Expected DCq | Logarithm
1 | : | 4 |  |  |  |  | -0.60206
[6 empty] | 2 | -0.60206
1 | : | 16 |  |  |  |  | -1.2041
[6 empty] | 2 | -1.2041
1 | : | 64 |  |  |  |  | -1.8062
[6 empty] | 2 | -1.8062
1 | : | 256 |  |  |  |  | -2.4082
[6 empty] | 2 | -2.4082
|  |  | Measured Cq | Cq Mean | Extrapol. Cq | Extrapol. - Mean Cq
Working dilution
Sample code :
Dilution factor |  |  | Measured Cq | Cq Mean | DCq | Expected DCq | Logarithm
1 | : | 4 |  |  |  |  | -0.60206
[6 empty] | 2 | -0.60206
1 | : | 16 |  |  |  |  | -1.2041
[6 empty] | 2 | -1.2041
1 | : | 64 |  |  |  |  | -1.8062
[6 empty] | 2 | -1.8062
1 | : | 256 |  |  |  |  | -2.4082
[6 empty] | 2 | -2.4082
|  |  | Measured Cq | Cq Mean | Extrapol. Cq | Extrapol. - Mean Cq
Working dilution
Sample code :
Dilution factor |  |  | Measured Cq | Cq Mean | DCq | Expected DCq | Logarithm
1 | : | 4 |  |  |  |  | -0.60206
[6 empty] | 2 | -0.60206
1 | : | 16 |  |  |  |  | -1.2041
[6 empty] | 2 | -1.2041
1 | : | 64 |  |  |  |  | -1.8062
[6 empty] | 2 | -1.8062
1 | : | 256 |  |  |  |  | -2.4082
[6 empty] | 2 | -2.4082
|  |  | Measured Cq | Cq Mean | Extrapol. Cq | Extrapol. - Mean Cq
Working dilution
Sample code :
Dilution factor |  |  | Measured Cq | Cq Mean | DCq | Expected DCq | Logarithm
1 | : | 4 |  |  |  |  | -0.60206
[6 empty] | 2 | -0.60206
1 | : | 16 |  |  |  |  | -1.2041
[6 empty] | 2 | -1.2041
1 | : | 64 |  |  |  |  | -1.8062
[6 empty] | 2 | -1.8062
1 | : | 256 |  |  |  |  | -2.4082
[6 empty] | 2 | -2.4082
|  |  | Measured Cq | Cq Mean | Extrapol. Cq | Extrapol. - Mean Cq
Working dilution
Sample code :
Dilution factor |  |  | Measured Cq | Cq Mean | DCq | Expected DCq | Logarithm
1 | : | 4 |  |  |  |  | -0.60206
[6 empty] | 2 | -0.60206
1 | : | 16 |  |  |  |  | -1.2041
[6 empty] | 2 | -1.2041
1 | : | 64 |  |  |  |  | -1.8062
[6 empty] | 2 | -1.8062
1 | : | 256 |  |  |  |  | -2.4082
[6 empty] | 2 | -2.4082
|  |  | Measured Cq | Cq Mean | Extrapol. Cq | Extrapol. - Mean Cq
Working dilution
Sample code :
Dilution factor |  |  | Measured Cq | Cq Mean | DCq | Expected DCq | Logarithm
1 | : | 4 |  |  |  |  | -0.60206
[6 empty] | 2 | -0.60206
1 | : | 16 |  |  |  |  | -1.2041
[6 empty] | 2 | -1.2041
1 | : | 64 |  |  |  |  | -1.8062
[6 empty] | 2 | -1.8062
1 | : | 256 |  |  |  |  | -2.4082
[6 empty] | 2 | -2.4082
|  |  | Measured Cq | Cq Mean | Extrapol. Cq | Extrapol. - Mean Cq
Working dilution
Sample code :
Dilution factor |  |  | Measured Cq | Cq Mean | DCq | Expected DCq | Logarithm
1 | : | 4 |  |  |  |  | -0.60206
[6 empty] | 2 | -0.60206
1 | : | 16 |  |  |  |  | -1.2041
[6 empty] | 2 | -1.2041
1 | : | 64 |  |  |  |  | -1.8062
[6 empty] | 2 | -1.8062
1 | : | 256 |  |  |  |  | -2.4082
[6 empty] | 2 | -2.4082
|  |  | Measured Cq | Cq Mean | Extrapol. Cq | Extrapol. - Mean Cq
Working dilution
Sample code :
Dilution factor |  |  | Measured Cq | Cq Mean | DCq | Expected DCq | Logarithm
1 | : | 4 |  |  |  |  | -0.60206
[6 empty] | 2 | -0.60206
1 | : | 16 |  |  |  |  | -1.2041
[6 empty] | 2 | -1.2041
1 | : | 64 |  |  |  |  | -1.8062
[6 empty] | 2 | -1.8062
1 | : | 256 |  |  |  |  | -2.4082
[6 empty] | 2 | -2.4082
|  |  | Measured Cq | Cq Mean | Extrapol. Cq | Extrapol. - Mean Cq
Working dilution
Results summary
Comparison of extrapolated Cq values versus mean of measured Cq values
Sample code | [5 empty] | R2 | Slope | Cq extrap | mean Cq measured |  | ΔCq
Example | [5 empty] | 0.99305 | -3.3136 | 22.55 | 22.5 |  | 0.05 | Ok
Mean Cq values of undiluted and serial diluted DNA extracts
Sample code | [5 empty] | Working dilution | Diluted samples
[6 empty] | 1:1 | 1:4 | 1:16 | 1:64 | 1:256
Example | [5 empty] | 22.5 | 24.55 | 26.5 | 28.6 | 30.5

## raw data
please paste exported values here
Well | Sample Name | Cq
1 | Example WD | 22.7
2 | Example WD | 22.3
3 | Example 1:4 | 24.2
4 | Example 1:4 | 24.9
5 | Example 1:16 | 26.5
6 | Example 1:16 | 26.5
7 | Example 1:64 | 28.7
8 | Example 1:64 | 28.5
9 | Example 1:256 | 30.5
10 | Example 1:256 | 30.5